## Sheet1
RNA Sample sheet
Version 2023-07-24
Please provide this file electronically to nucleomics.lab@vib.be
RNA sample requirements
- Use the same extraction method for all samples!
- RNA has to be extremely clean. Currently we don’t impose a protocol. However, best results were obtained with Trizol like reagents (e.g. Life Technology) and Qiagen RNeasy or a combination of both.
- Amount of (total) RNA: 1-3 μg are recommended to allow for an experimental repeat and for minimal amplification bias. Please provide at least 10 μl to allow QC. Please get in touch if you have lower quantities available. Leftovers can be retrieved back.
- OD 260/280 between 1.8 and 2.1, OD 260/230 between 1.8 and 2.0.
- Ratio of high/low molecular weight rRNA ̴2.
- Agilent Bioanalyzer RIN > 7-8.
- RNA must be resuspended in RNAse free water. When using another solvent, please include an aliquot of at least 10 µL.
- Please don’t dilute the samples to one uniform concentration as the higher the concentration of your samples, to more stable the RNA is.
- Use 1.5 ml eppendorf tubes. Note that over 30 samples, you can provide your samples in a PCR plate in column orientation.
- Place your samples in the sample box in the same order as listed in the sample submission form.
- Transport the RNA on dry-ice.
RNA quality will be checked at the facility. If low quality is suspected, the procedure will be stopped.
Labeling samples
IMPORTANT: If tubes, label them with:
Unique sample number (also unique to your previously submitted samples)
Sample name
Date
Name of responsible researcher
Concentration
Project information
Please fill out all fields below
Responsible researcher:
Project Leader:
Name of department:
Name of institute:
Address:
Billing address:
VAT number:
Phone:
Email:
Quote Number:
Name of experiment:
Organism (Species):
Date:
RNA extraction method:
Did you use a carrier, if yes what did you use (e.g. glycogen)
Did you perform DNAse treatment ? YES / NO
BioIT contact (to whom the data will be transferred) :
Data transfer preference :
Specific (BioIT) remark :
Samples
Please fill out the fields printed in bold. All other fields will be filled out by the Nucleomics team.
UNIQUE SAMPLE NUMBER | SAMPLE NAME | CONC (ng/μl) | OD 260/280 | OD 260/230 | RIN | VOLUME (μl) | SOLVENT | ORGANISM

## Sheet2 (hidden)
ORGANISMS | DATA TRANSFER
Mammals (e.g. H. sapiens) | Illumina Basespace delivery
Other animals (e.g. D. melanogaster) | BELNET Delivery (<200GB)
Plants (e.g. A. thaliana) | VIB NExtCloud
Algae (e.g. D. discoideum) | Hard Disk
Yeasts (e.g. S. cerevisiae) | Custom Server
Other Fungi (e.g. P. infestans) | Unknown
Other Eukaryotes (e.g. diatom)
Gram-Negative Bacteria (e.g. E. coli)
Gram-Positive Bacteria (e.g. B. thuringiensis)
Other Prokaryotes (e.g. Archaea)
Virusses (e.g. HIV)
Multispecies
Other
SOLVENT
Nuclease-free water
DEPC-MQ
Elution Buffer
TE (1x)
Low TE
BR5
Other

## LOG (hidden)
VERSION/DATE | WHO | ACTIONS
43399 | REJAN | Add BioIT contact, BioIT remark, and Data trasner preferences
20230612 | THSTAN | Changed version, added log sheet and removed users